## Measurement 0
Workbook name | C:\Users\nanosci05.lab\Desktop\DLS Data\Deborah\083121\RGLGY.apkw
Measurement name | HGLGY_1mM_pH_water 1
Measurement mode | Particle size
Comment | [6 empty] | Size distribution function |  |  |  |  | Correlation function |  | Intensity trace
Expert advices |  |  |  | Particle diameter | Relative frequency | Relative frequency | Relative frequency | Undersize | Undersize | Undersize |  |  | Cumulant fit
Results | Hydrodynamic diameter | 219.2398 | nm |  | Intensity weighted | Volume weighted | Number weighted | Intensity weighted | Volume weighted | Number weighted | Delay time | g2 | Advanced | Time | Intensity
| Polydispersity index | 10.3808 | % | [nm] | [%] | [%] | [%] | [%] | [%] | [%] | [s] |  |  | [s] | [kcounts/s]
| Intercept g1² | 0.83957 |  | 0.20947 | 0 | 0 | 0 | 0 | 0 | 0 | 2e-07 | 1.8691 |  | 0.1 | 200.09
| Baseline | 1.0134 |  | 0.22715 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2e-07 | 1.8648 |  | 0.2 | 152.4
| Mean intensity | 199.1674 | kcps | 0.24631 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-07 | 1.8584 |  | 0.3 | 201.92
| Absolute intensity | 1668.0921 | kcps | 0.26709 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6e-07 | 1.8722 |  | 0.4 | 224.99
| Fit error | 1.1511e-05 |  | 0.28962 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8e-07 | 1.8674 |  | 0.5 | 169.33
| Diffusion coefficient | 2.2376 |  | 0.31406 | 0 | 0 | 0 | 0 | 0 | 0 | 3e-07 | 1.8498 |  | 0.6 | 237.65
Peak analysis volume | Peak volume 1 | 154.6691 | nm | 0.34055 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-07 | 1.8519 |  | 0.7 | 243.76
| Area volume 1 | 74.6409 | % | 0.36928 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6e-07 | 1.8566 |  | 0.8 | 171.24
| Standard deviation volume 1 | 33.6878 | nm | 0.40044 | 0 | 0 | 0 | 0 | 0 | 0 | 4e-07 | 1.8692 |  | 0.9 | 272.19
| Peak volume 2 | 327.8821 | nm | 0.43422 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4e-07 | 1.8503 |  | 1 | 193.12
| Area volume 2 | 25.3591 | % | 0.47086 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-07 | 1.8541 |  | 1.1 | 181.94
| Standard deviation volume 2 | 49.5179 | nm | 0.51058 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2e-07 | 1.8563 |  | 1.2 | 237.56
| Peak volume 3 |  |  | 0.55366 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6e-07 | 1.8528 |  | 1.3 | 266.41
| Area volume 3 |  |  | 0.60037 | 0 | 0 | 0 | 0 | 0 | 0 | 6e-07 | 1.8544 |  | 1.4 | 208.5
| Standard deviation volume 3 |  |  | 0.65102 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-07 | 1.8585 |  | 1.5 | 237.23
Peak analysis intensity | Peak intensity 1 | 219.6481 | nm | 0.70594 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2e-07 | 1.8639 |  | 1.6 | 196.41
| Area intensity 1 | 100 | % | 0.7655 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-07 | 1.863 |  | 1.7 | 172.26
| Standard deviation intensity 1 | 71.0516 | nm | 0.83008 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8e-07 | 1.855 |  | 1.8 | 185.76
| Peak intensity 2 |  |  | 0.90011 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-07 | 1.8632 |  | 1.9 | 158.35
| Area intensity 2 |  |  | 0.97605 | 0 | 0 | 0 | 0 | 0 | 0 | 1.04e-06 | 1.8567 | 1.8517 | 2 | 172.12
| Standard deviation intensity 2 |  |  | 1.0584 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12e-06 | 1.8537 | 1.8516 | 2.1 | 174.72
| Peak intensity 3 |  |  | 1.1477 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2e-06 | 1.8522 | 1.8515 | 2.2 | 175.86
| Area intensity 3 |  |  | 1.2445 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-06 | 1.8533 | 1.8514 | 2.3 | 202.58
| Standard deviation intensity 3 |  |  | 1.3495 | 0 | 0 | 0 | 0 | 0 | 0 | 1.44e-06 | 1.8562 | 1.8512 | 2.4 | 164.53
Peak analysis number | Peak number 1 | 136.7185 | nm | 1.4634 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6e-06 | 1.8572 | 1.851 | 2.5 | 151.41
| Area number 1 | 100 | % | 1.5868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.76e-06 | 1.8545 | 1.8508 | 2.6 | 180.03
| Standard deviation number 1 | 28.5528 | nm | 1.7207 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-06 | 1.8528 | 1.8506 | 2.7 | 190.72
| Peak number 2 |  |  | 1.8659 | 0 | 0 | 0 | 0 | 0 | 0 | 2.08e-06 | 1.851 | 1.8504 | 2.8 | 165.18
| Area number 2 |  |  | 2.0233 | 0 | 0 | 0 | 0 | 0 | 0 | 2.24e-06 | 1.8559 | 1.8502 | 2.9 | 179.18
| Standard deviation number 2 |  |  | 2.194 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-06 | 1.8552 | 1.85 | 3 | 206.65
| Peak number 3 |  |  | 2.3791 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-06 | 1.8517 | 1.8498 | 3.1 | 209.79
| Area number 3 |  |  | 2.5798 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88e-06 | 1.8509 | 1.8495 | 3.2 | 176.69
| Standard deviation number 3 |  |  | 2.7974 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-06 | 1.8528 | 1.8491 | 3.3 | 172.33
D values | D10 volume | 108.8182 | nm | 3.0334 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52e-06 | 1.8529 | 1.8487 | 3.4 | 186.19
| D50 volume | 159.9438 | nm | 3.2894 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-06 | 1.8515 | 1.8483 | 3.5 | 169.13
| D90 volume | 326.5415 | nm | 3.5669 | 0 | 0 | 0 | 0 | 0 | 0 | 4.16e-06 | 1.8492 | 1.8479 | 3.6 | 212.38
| D10 intensity | 125.6928 | nm | 3.8678 | 0 | 0 | 0 | 0 | 0 | 0 | 4.48e-06 | 1.8477 | 1.8475 | 3.7 | 252.74
| D50 intensity | 199.0966 | nm | 4.1941 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-06 | 1.8537 | 1.8472 | 3.8 | 206.01
| D90 intensity | 317.0576 | nm | 4.5479 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-06 | 1.8503 | 1.8468 | 3.9 | 236.89
| D10 number | 99.4333 | nm | 4.9316 | 0 | 0 | 0 | 0 | 0 | 0 | 5.76e-06 | 1.8469 | 1.846 | 4 | 166.07
| D50 number | 120.2841 | nm | 5.3477 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-06 | 1.8461 | 1.8452 | 4.1 | 200.16
| D90 number | 172.9485 | nm | 5.7988 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04e-06 | 1.8414 | 1.8445 | 4.2 | 194.08
| Undersize span volume (D90-D10)/D50 | 1.3612 |  | 6.2881 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-06 | 1.8472 | 1.8437 | 4.3 | 174.84
| Undersize span intensity (D90-D10)/D50 | 0.96117 |  | 6.8186 | 0 | 0 | 0 | 0 | 0 | 0 | 8.32e-06 | 1.8441 | 1.843 | 4.4 | 209.75
| Undersize span number (D90-D10)/D50 | 0.61118 |  | 7.3938 | 0 | 0 | 0 | 0 | 0 | 0 | 8.96e-06 | 1.8443 | 1.8422 | 4.5 | 190.21
|  |  |  | 8.0176 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-06 | 1.8418 | 1.8414 | 4.6 | 188.14
Automatic values | Filter optical density | 0.923 |  | 8.694 | 0 | 0 | 0 | 0 | 0 | 0 | 1.024e-05 | 1.8413 | 1.8407 | 4.7 | 163.24
| Focus position | -0.40843 | mm | 9.4275 | 0 | 0 | 0 | 0 | 0 | 0 | 1.152e-05 | 1.84 | 1.8392 | 4.8 | 165.22
| Auto run criteria | 128.8243 | % | 10.2229 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-05 | 1.8389 | 1.8376 | 4.9 | 198.69
| Transmittance | 89.3496 | % | 11.0853 | 0 | 0 | 0 | 0 | 0 | 0 | 1.408e-05 | 1.8372 | 1.8361 | 5 | 212.76
| Angle used | SideScatter |  | 12.0206 | 0 | 0 | 0 | 0 | 0 | 0 | 1.536e-05 | 1.8357 | 1.8346 | 5.1 | 175.08
| Processed runs | 6 |  | 13.0347 | 0 | 0 | 0 | 0 | 0 | 0 | 1.664e-05 | 1.8342 | 1.8331 | 5.2 | 198.47
|  |  |  | 14.1344 | 0 | 0 | 0 | 0 | 0 | 0 | 1.792e-05 | 1.8331 | 1.8316 | 5.3 | 166.1
Input parameters | General |  |  | 15.3268 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-05 | 1.8302 | 1.8301 | 5.4 | 192.13
| Measurement cell | Quartz Low Volume |  | 16.6199 | 0 | 0 | 0 | 0 | 0 | 0 | 2.048e-05 | 1.8291 | 1.8286 | 5.5 | 180.96
| Measurement angle | Automatic |  | 18.022 | 0 | 0 | 0 | 0 | 0 | 0 | 2.304e-05 | 1.826 | 1.8256 | 5.6 | 182.14
| Target temperature | 25 | °C | 19.5425 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-05 | 1.823 | 1.8226 | 5.7 | 222.38
| Equilibration time | 0h 00m 30s |  | 21.1912 | 0 | 0 | 0 | 0 | 0 | 0 | 2.816e-05 | 1.8206 | 1.8197 | 5.8 | 190.91
| Analysis model | General |  | 22.979 | 0 | 0 | 0 | 0 | 0 | 0 | 3.072e-05 | 1.8162 | 1.8167 | 5.9 | 194.28
| Cumulant model | Advanced |  | 24.9177 | 0 | 0 | 0 | 0 | 0 | 0 | 3.328e-05 | 1.8132 | 1.8138 | 6 | 196.89
|  |  |  | 27.0199 | 0 | 0 | 0 | 0 | 0 | 0 | 3.584e-05 | 1.8119 | 1.8108 | 6.1 | 193.34
| Quality |  |  | 29.2994 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-05 | 1.8084 | 1.8079 | 6.2 | 203.6
| Mode | Automatic |  | 31.7713 | 0 | 0 | 0 | 0 | 0 | 0 | 4.096e-05 | 1.8051 | 1.805 | 6.3 | 215.91
| Max. number of runs | 60 |  | 34.4517 | 0 | 0 | 0 | 0 | 0 | 0 | 4.608e-05 | 1.798 | 1.7992 | 6.4 | 188.31
| Measurement time | 0h 00m 10s |  | 37.3583 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-05 | 1.7931 | 1.7934 | 6.5 | 141.39
|  |  |  | 40.51 | 0 | 0 | 0 | 0 | 0 | 0 | 5.632e-05 | 1.7862 | 1.7877 | 6.6 | 178.97
| Filter |  |  | 43.9277 | 0 | 0 | 0 | 0 | 0 | 0 | 6.144e-05 | 1.7814 | 1.7821 | 6.7 | 163.3
| Mode | Automatic |  | 47.6337 | 0 | 0 | 0 | 0 | 0 | 0 | 6.656e-05 | 1.7753 | 1.7764 | 6.8 | 202.78
| Optical density | 0 | mm | 51.6524 | 0 | 0 | 0 | 0 | 0 | 0 | 7.168e-05 | 1.7697 | 1.7708 | 6.9 | 189.77
|  |  |  | 56.0101 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-05 | 1.762 | 1.7653 | 7 | 197.01
| Focus |  |  | 60.7354 | 0 | 0 | 0 | 0 | 0 | 0 | 8.192e-05 | 1.7579 | 1.7598 | 7.1 | 191.83
| Mode | Automatic |  | 65.8594 | 0 | 0 | 0 | 0 | 0 | 0 | 9.216e-05 | 1.747 | 1.7489 | 7.2 | 205.55
| Position | 0 | mm | 71.4157 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001024 | 1.7359 | 1.7382 | 7.3 | 209.65
|  |  |  | 77.4408 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00011264 | 1.7245 | 1.7276 | 7.4 | 207.43
| Material |  |  | 83.9741 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00012288 | 1.7149 | 1.7172 | 7.5 | 166.23
| Name | Protein |  | 91.0587 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00013312 | 1.7044 | 1.7069 | 7.6 | 233.34
| Refractive index | 1.4500 |  | 98.741 | 0.61127 | 2.395 | 8.5878 | 0.61127 | 2.395 | 8.5878 | 0.00014336 | 1.6936 | 1.6968 | 7.7 | 209.82
| Absorption coefficient | 0.0010 | 1/m | 107.0713 | 1.918 | 6.0424 | 16.9922 | 2.5293 | 8.4374 | 25.58 | 0.0001536 | 1.683 | 1.6868 | 7.8 | 235.11
|  |  |  | 116.1045 | 3.1867 | 8.0801 | 17.8208 | 5.716 | 16.5175 | 43.4008 | 0.00016384 | 1.6735 | 1.677 | 7.9 | 190.12
| Solvent |  |  | 125.8998 | 4.3765 | 8.9411 | 15.4658 | 10.0925 | 25.4586 | 58.8666 | 0.00018432 | 1.6549 | 1.6577 | 8 | 216.31
| Name | Water |  | 136.5214 | 5.4499 | 8.9905 | 12.1966 | 15.5424 | 34.449 | 71.0632 | 0.0002048 | 1.6362 | 1.6391 | 8.1 | 219.77
| Refractive index | 1.3303 |  | 148.0392 | 6.3739 | 8.4924 | 9.0356 | 21.9163 | 42.9414 | 80.0988 | 0.00022528 | 1.6169 | 1.6209 | 8.2 | 204.5
| Viscosity | 0.89031 | mPa.s | 160.5287 | 7.1212 | 7.4054 | 6.1795 | 29.0375 | 50.3468 | 86.2783 | 0.00024576 | 1.5996 | 1.6033 | 8.3 | 201.46
| Relative permittivity | 78.3682 |  | 174.0718 | 7.6713 | 6.2012 | 4.0583 | 36.7087 | 56.5479 | 90.3366 | 0.00026624 | 1.5826 | 1.5863 | 8.4 | 169.92
|  |  |  | 188.7576 | 8.0107 | 5.1469 | 2.6417 | 44.7194 | 61.6948 | 92.9784 | 0.00028672 | 1.5658 | 1.5697 | 8.5 | 223.98
Additional information | Measurement |  |  | 204.6823 | 8.1334 | 4.5392 | 1.8273 | 52.8529 | 66.234 | 94.8056 | 0.0003072 | 1.5507 | 1.5535 | 8.6 | 196.69
| User | ns05g311hpxq7x2, nanosci05.lab nanosci05.lab |  | 221.9505 | 8.0401 | 4.239 | 1.3383 | 60.8929 | 70.473 | 96.1439 | 0.00032768 | 1.5356 | 1.5379 | 8.7 | 229.33
| Start time | 2021-09-01 17:04 |  | 240.6756 | 7.7376 | 4.1679 | 1.032 | 68.6305 | 74.6409 | 97.1759 | 0.00036864 | 1.5059 | 1.5079 | 8.8 | 178.19
| Software version | 2.22.1 |  | 260.9804 | 7.238 | 3.8202 | 0.74186 | 75.8684 | 78.4611 | 97.9178 | 0.0004096 | 1.4785 | 1.4797 | 8.9 | 194.96
| Computer name | NS05G311HPXQ7X2 |  | 282.9983 | 6.5573 | 4.048 | 0.61653 | 82.4258 | 82.5091 | 98.5343 | 0.00045056 | 1.453 | 1.4531 | 9 | 210.42
|  |  |  | 306.8737 | 5.7142 | 4.2423 | 0.50674 | 88.14 | 86.7515 | 99.041 | 0.00049152 | 1.4288 | 1.428 | 9.1 | 240.15
| Instrument |  |  | 332.7634 | 4.7285 | 4.2762 | 0.4006 | 92.8685 | 91.0277 | 99.4416 | 0.00053248 | 1.406 | 1.4043 | 9.2 | 229.34
| Type | Litesizer 500 |  | 360.8373 | 3.6198 | 3.9928 | 0.29336 | 96.4883 | 95.0205 | 99.735 | 0.00057344 | 1.3853 | 1.382 | 9.3 | 197.11
| Serial number | 82257682 |  | 391.2797 | 2.4066 | 3.2149 | 0.18525 | 98.8949 | 98.2354 | 99.9203 | 0.0006144 | 1.3652 | 1.3609 | 9.4 | 245.28
|  |  |  | 424.2904 | 1.1051 | 1.7646 | 0.079748 | 100 | 100 | 100 | 0.00065536 | 1.3472 | 1.3411 | 9.5 | 211.8
| Module |  |  | 460.086 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00073728 | 1.3134 | 1.3047 | 9.6 | 214.12
| Type | FM10 |  | 498.9016 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0008192 | 1.2841 | 1.2724 | 9.7 | 249.84
| Serial number | 82269241 |  | 540.9919 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00090112 | 1.2572 | 1.2436 | 9.8 | 193.63
|  |  |  | 586.6333 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00098304 | 1.2332 | 1.2181 | 9.9 | 169.31
|  |  |  | 636.1251 | 0 | 0 | 0 | 100 | 100 | 100 | 0.001065 | 1.2118 | 1.1954 | 10 | 178.99
|  |  |  | 689.7925 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0011469 | 1.1926 | 1.1752 | 10.1 | 207.86
|  |  |  | 747.9875 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0012288 | 1.175 | 1.1572 | 10.2 | 220.35
|  |  |  | 811.0921 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0013107 | 1.1598 | 1.1413 | 10.3 | 245.93
|  |  |  | 879.5207 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0014746 | 1.1325 | 1.1145 | 10.4 | 242.16
|  |  |  | 953.7223 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0016384 | 1.1087 | 1.0933 | 10.5 | 188.83
|  |  |  | 1034.184 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0018022 | 1.0894 | 1.0765 | 10.6 | 238.62
|  |  |  | 1121.434 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0019661 | 1.0745 | 1.0633 | 10.7 | 217.19
|  |  |  | 1216.0449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0021299 | 1.0627 | 1.0528 | 10.8 | 174.64
|  |  |  | 1318.6377 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0022938 | 1.0525 | 1.0445 | 10.9 | 208.52
|  |  |  | 1429.8858 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0024576 | 1.0456 | 1.038 | 11 | 187.89
|  |  |  | 1550.5195 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0026214 | 1.0401 | 1.0328 | 11.1 | 196.62
|  |  |  | 1681.3306 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0029491 | 1.0306 | 1.0255 | 11.2 | 214.16
|  |  |  | 1823.1777 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0032768 | 1.0239 |  | 11.3 | 201.48
|  |  |  | 1976.9918 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0036045 | 1.0194 |  | 11.4 | 209.56
|  |  |  | 2143.7826 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0039322 | 1.0156 |  | 11.5 | 227.54
|  |  |  | 2324.6449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0042598 | 1.0133 |  | 11.6 | 237.9
|  |  |  | 2520.7659 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0045875 | 1.0122 |  | 11.7 | 204.52
|  |  |  | 2733.4327 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0049152 | 1.0126 |  | 11.8 | 196.91
|  |  |  | 2964.0414 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0052429 | 1.0134 |  | 11.9 | 220.07
|  |  |  | 3214.1056 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0058982 | 1.014 |  | 12 | 212
|  |  |  | 3485.2668 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0065536 | 1.0147 |  | 12.1 | 231.09
|  |  |  | 3779.3047 | 0 | 0 | 0 | 100 | 100 | 100 | 0.007209 | 1.0123 |  | 12.2 | 241.41
|  |  |  | 4098.1494 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0078643 | 1.0115 |  | 12.3 | 225.16
|  |  |  | 4443.8937 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0085197 | 1.0084 |  | 12.4 | 258.91
|  |  |  | 4818.8071 | 0 | 0 | 0 | 100 | 100 | 100 | 0.009175 | 1.0054 |  | 12.5 | 201.53
|  |  |  | 5225.3505 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0098304 | 1.0049 |  | 12.6 | 239.41
|  |  |  | 5666.1922 | 0 | 0 | 0 | 100 | 100 | 100 | 0.010486 | 1.005 |  | 12.7 | 236.51
|  |  |  | 6144.226 | 0 | 0 | 0 | 100 | 100 | 100 | 0.011796 | 1.0038 |  | 12.8 | 205.96
|  |  |  | 6662.5896 | 0 | 0 | 0 | 100 | 100 | 100 | 0.013107 | 1.0011 |  | 12.9 | 176.98
|  |  |  | 7224.6854 | 0 | 0 | 0 | 100 | 100 | 100 | 0.014418 | 1.0011 |  | 13 | 249.18
|  |  |  | 7834.203 | 0 | 0 | 0 | 100 | 100 | 100 | 0.015729 | 1.0041 |  | 13.1 | 238.02
|  |  |  | 8495.1431 | 0 | 0 | 0 | 100 | 100 | 100 | 0.017039 | 0.99976 |  | 13.2 | 225.98
|  |  |  | 9211.8441 | 0 | 0 | 0 | 100 | 100 | 100 | 0.01835 | 0.99519 |  | 13.3 | 182.18
|  |  |  | 9989.0102 | 0 | 0 | 0 | 100 | 100 | 100 | 0.019661 | 0.99909 |  | 13.4 | 203.09
|  |  |  | 10831.7428 | 0 | 0 | 0 | 100 | 100 | 100 | 0.020972 | 0.99973 |  | 13.5 | 220.63
|  |  |  | 11745.5732 | 0 | 0 | 0 | 100 | 100 | 100 | 0.023593 | 0.99903 |  | 13.6 | 209.5
|  |  |  | 12736.4999 | 0 | 0 | 0 | 100 | 100 | 100 | 0.026214 | 0.99821 |  | 13.7 | 245.92
|  |  |  | 13811.027 | 0 | 0 | 0 | 100 | 100 | 100 | 0.028836 | 1.0014 |  | 13.8 | 197.64
|  |  |  | 14976.2077 | 0 | 0 | 0 | 100 | 100 | 100 | 0.031457 | 1.001 |  | 13.9 | 205.83
|  |  |  | 16239.69 | 0 | 0 | 0 | 100 | 100 | 100 | 0.034079 | 1.0045 |  | 14 | 208.94
|  |  |  | 17609.7672 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0367 | 1.0099 |  | 14.1 | 244.63
|  |  |  | 19095.4322 | 0 | 0 | 0 | 100 | 100 | 100 | 0.039322 | 1.0111 |  | 14.2 | 196.1
[11 empty] | 0.041943 | 1.0065 |  | 14.3 | 262.39
[11 empty] | 0.047186 | 1.0078 |  | 14.4 | 207
[11 empty] | 0.052429 | 1.0029 |  | 14.5 | 178.09
[11 empty] | 0.057672 | 0.99924 |  | 14.6 | 256.69
[11 empty] | 0.062915 | 1.0007 |  | 14.7 | 203.26
[11 empty] | 0.068157 | 1.0048 |  | 14.8 | 221.47
[11 empty] | 0.0734 | 1.0014 |  | 14.9 | 241.97
[11 empty] | 0.078643 | 1.0004 |  | 15 | 234.26
[11 empty] | 0.083886 | 1.0018 |  | 15.1 | 259.28
[11 empty] | 0.094372 | 0.99938 |  | 15.2 | 200.61
[11 empty] | 0.10486 | 1.0028 |  | 15.3 | 209.77
[11 empty] | 0.11534 | 1.0024 |  | 15.4 | 213.47
[11 empty] | 0.12583 | 1.0039 |  | 15.5 | 245.52
[11 empty] | 0.13631 | 1.0005 |  | 15.6 | 228.31
[11 empty] | 0.1468 | 1.0007 |  | 15.7 | 251.16
[11 empty] | 0.15729 | 1.005 |  | 15.8 | 192.72
[11 empty] | 0.16777 | 1.0039 |  | 15.9 | 235.46
[11 empty] | 0.18874 | 1.0036 |  | 16 | 209.93
[11 empty] | 0.20972 | 1.0022 |  | 16.1 | 195.83
[11 empty] | 0.23069 | 1.002 |  | 16.2 | 196.01
[11 empty] | 0.25166 | 1.0025 |  | 16.3 | 243.88
[11 empty] | 0.27263 | 1.0031 |  | 16.4 | 220.32
[11 empty] | 0.2936 | 1.0033 |  | 16.5 | 203.63
[11 empty] | 0.31457 | 1.0049 |  | 16.6 | 195.35
[11 empty] | 0.33554 | 1.003 |  | 16.7 | 235.75
[11 empty] | 0.37749 | 1.0011 |  | 16.8 | 212.01
[11 empty] | 0.41943 | 0.99704 |  | 16.9 | 216.38
[11 empty] | 0.46137 | 1.0005 |  | 17 | 291.27
[11 empty] | 0.50332 | 0.99986 |  | 17.1 | 265.55
[11 empty] | 0.54526 | 0.99959 |  | 17.2 | 220.33
[11 empty] | 0.5872 | 0.99812 |  | 17.3 | 212.52
[11 empty] | 0.62915 | 1.002 |  | 17.4 | 193.33
[11 empty] | 0.67109 | 0.99665 |  | 17.5 | 245.81
[11 empty] | 0.75497 | 0.99893 |  | 17.6 | 216.07
[11 empty] | 0.83886 | 0.99673 |  | 17.7 | 209.61
[11 empty] | 0.92275 | 0.99575 |  | 17.8 | 283.63
[11 empty] | 1.0066 | 0.99436 |  | 17.9 | 207
[11 empty] | 1.0905 | 0.99649 |  | 18 | 222.22
[11 empty] | 1.1744 | 0.99445 |  | 18.1 | 241.36
[11 empty] | 1.2583 | 0.99623 |  | 18.2 | 233.59
[11 empty] | 1.3422 | 0.99651 |  | 18.3 | 189.26
[11 empty] | 1.5099 | 0.99411 |  | 18.4 | 235.83
[11 empty] | 1.6777 | 0.99288 |  | 18.5 | 240.04
[11 empty] | 1.8455 | 0.99365 |  | 18.6 | 201.89
[11 empty] | 2.0133 | 0.9949 |  | 18.7 | 233.62
[11 empty] | 2.181 | 0.99459 |  | 18.8 | 193.2
[11 empty] | 2.3488 | 0.98899 |  | 18.9 | 201.45
[11 empty] | 2.5166 | 0.99295 |  | 19 | 244.26
[11 empty] | 2.6844 | 0.99117 |  | 19.1 | 167.9
[11 empty] | 3.0199 | 0.9915 |  | 19.2 | 208.58
[11 empty] | 3.3554 | 0.99474 |  | 19.3 | 175.81
[11 empty] | 3.691 | 0.99539 |  | 19.4 | 188.64
[11 empty] | 4.0265 | 0.99682 |  | 19.5 | 205.86
[11 empty] | 4.3621 | 0.99399 |  | 19.6 | 200.29
[11 empty] | 4.6976 | 0.99509 |  | 19.7 | 191.95
[11 empty] | 5.0332 | 0.99895 |  | 19.8 | 210.81
[11 empty] | 5.3687 | 0.99196 |  | 19.9 | 197.77
[11 empty] | 6.0398 | 0.9956 |  | 20 | 186.75
[11 empty] | 6.7109 | 1.0133 |  | 20.1 | 173.14
[11 empty] | 7.382 | 1.0205 |  | 20.2 | 153.45
[11 empty] | 8.0531 | 1.0412 |  | 20.3 | 213.89
[14 empty] | 20.4 | 173.79
[14 empty] | 20.5 | 146.78
[14 empty] | 20.6 | 175.86
[14 empty] | 20.7 | 170.41
[14 empty] | 20.8 | 154.77
[14 empty] | 20.9 | 168.51
[14 empty] | 21 | 183.32
[14 empty] | 21.1 | 151.3
[14 empty] | 21.2 | 162
[14 empty] | 21.3 | 144.46
[14 empty] | 21.4 | 187.32
[14 empty] | 21.5 | 177.37
[14 empty] | 21.6 | 151.42
[14 empty] | 21.7 | 131.8
[14 empty] | 21.8 | 197.43
[14 empty] | 21.9 | 166.96
[14 empty] | 22 | 187.76
[14 empty] | 22.1 | 175.52
[14 empty] | 22.2 | 191.15
[14 empty] | 22.3 | 165.97
[14 empty] | 22.4 | 170.21
[14 empty] | 22.5 | 135.5
[14 empty] | 22.6 | 165.22
[14 empty] | 22.7 | 161.54
[14 empty] | 22.8 | 168.32
[14 empty] | 22.9 | 171.48
[14 empty] | 23 | 162.44
[14 empty] | 23.1 | 180.77
[14 empty] | 23.2 | 137.08
[14 empty] | 23.3 | 157.16
[14 empty] | 23.4 | 166.39
[14 empty] | 23.5 | 183.76
[14 empty] | 23.6 | 167.11
[14 empty] | 23.7 | 174.85
[14 empty] | 23.8 | 166.56
[14 empty] | 23.9 | 212.79
[14 empty] | 24 | 207.19
[14 empty] | 24.1 | 198.27
[14 empty] | 24.2 | 170.4
[14 empty] | 24.3 | 183.86
[14 empty] | 24.4 | 176.06
[14 empty] | 24.5 | 223.2
[14 empty] | 24.6 | 159.25
[14 empty] | 24.7 | 177.32
[14 empty] | 24.8 | 194.81
[14 empty] | 24.9 | 156.18
[14 empty] | 25 | 161.74
[14 empty] | 25.1 | 173.63
[14 empty] | 25.2 | 189.16
[14 empty] | 25.3 | 148.61
[14 empty] | 25.4 | 174.69
[14 empty] | 25.5 | 210.44
[14 empty] | 25.6 | 162.43
[14 empty] | 25.7 | 182.25
[14 empty] | 25.8 | 176.81
[14 empty] | 25.9 | 175.53
[14 empty] | 26 | 163.86
[14 empty] | 26.1 | 182.61
[14 empty] | 26.2 | 226.83
[14 empty] | 26.3 | 179.18
[14 empty] | 26.4 | 201.04
[14 empty] | 26.5 | 231.55
[14 empty] | 26.6 | 195.87
[14 empty] | 26.7 | 204.52
[14 empty] | 26.8 | 203.13
[14 empty] | 26.9 | 165.27
[14 empty] | 27 | 166.41
[14 empty] | 27.1 | 178.01
[14 empty] | 27.2 | 158.14
[14 empty] | 27.3 | 162
[14 empty] | 27.4 | 217.39
[14 empty] | 27.5 | 188.84
[14 empty] | 27.6 | 220.33
[14 empty] | 27.7 | 182.94
[14 empty] | 27.8 | 162.17
[14 empty] | 27.9 | 212.09
[14 empty] | 28 | 196.5
[14 empty] | 28.1 | 201.41
[14 empty] | 28.2 | 231.65
[14 empty] | 28.3 | 198.31
[14 empty] | 28.4 | 232.47
[14 empty] | 28.5 | 149.66
[14 empty] | 28.6 | 171.92
[14 empty] | 28.7 | 177.41
[14 empty] | 28.8 | 180.64
[14 empty] | 28.9 | 153.77
[14 empty] | 29 | 248.19
[14 empty] | 29.1 | 187.84
[14 empty] | 29.2 | 239.85
[14 empty] | 29.3 | 197.49
[14 empty] | 29.4 | 182.99
[14 empty] | 29.5 | 206.05
[14 empty] | 29.6 | 241.48
[14 empty] | 29.7 | 224.15