## Measurement 0
Workbook name | C:\Users\nanosci05.lab\Desktop\DLS Data\Deborah\083121\RGLGY.apkw
Measurement name | RGLGY_1mM_pH3 1
Measurement mode | Particle size
Comment | [6 empty] | Size distribution function |  |  |  |  | Correlation function |  | Intensity trace
Expert advices |  |  |  | Particle diameter | Relative frequency | Relative frequency | Relative frequency | Undersize | Undersize | Undersize |  |  | Cumulant fit
Results | Hydrodynamic diameter | 183.8123 | nm |  | Intensity weighted | Volume weighted | Number weighted | Intensity weighted | Volume weighted | Number weighted | Delay time | g2 | Advanced | Time | Intensity
| Polydispersity index | 14.33 | % | [nm] | [%] | [%] | [%] | [%] | [%] | [%] | [s] |  |  | [s] | [kcounts/s]
| Intercept g1² | 0.88849 |  | 0.20947 | 0 | 0 | 0 | 0 | 0 | 0 | 2e-07 | 1.9185 |  | 0.1 | 287.3
| Baseline | 1.002 |  | 0.22715 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2e-07 | 1.9077 |  | 0.2 | 216.76
| Mean intensity | 247.7749 | kcps | 0.24631 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-07 | 1.9028 |  | 0.3 | 223.65
| Absolute intensity | 1628.0783 | kcps | 0.26709 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6e-07 | 1.899 |  | 0.4 | 281.21
| Fit error | 2.8421e-05 |  | 0.28962 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8e-07 | 1.9037 |  | 0.5 | 278
| Diffusion coefficient | 2.6691 |  | 0.31406 | 0 | 0 | 0 | 0 | 0 | 0 | 3e-07 | 1.9038 |  | 0.6 | 266.24
Peak analysis volume | Peak volume 1 | 158.2353 | nm | 0.34055 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-07 | 1.8959 |  | 0.7 | 347.13
| Area volume 1 | 100 | % | 0.36928 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6e-07 | 1.9009 |  | 0.8 | 256.13
| Standard deviation volume 1 | 35.188 | nm | 0.40044 | 0 | 0 | 0 | 0 | 0 | 0 | 4e-07 | 1.9033 | 1.8899 | 0.9 | 241.45
| Peak volume 2 |  |  | 0.43422 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4e-07 | 1.8978 | 1.8898 | 1 | 327.84
| Area volume 2 |  |  | 0.47086 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-07 | 1.8957 | 1.8898 | 1.1 | 231.9
| Standard deviation volume 2 |  |  | 0.51058 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2e-07 | 1.9004 | 1.8897 | 1.2 | 299.95
| Peak volume 3 |  |  | 0.55366 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6e-07 | 1.9018 | 1.8897 | 1.3 | 264.08
| Area volume 3 |  |  | 0.60037 | 0 | 0 | 0 | 0 | 0 | 0 | 6e-07 | 1.9019 | 1.8896 | 1.4 | 245.66
| Standard deviation volume 3 |  |  | 0.65102 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-07 | 1.9003 | 1.8895 | 1.5 | 274.78
Peak analysis intensity | Peak intensity 1 | 184.203 | nm | 0.70594 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2e-07 | 1.8977 | 1.8894 | 1.6 | 252
| Area intensity 1 | 100 | % | 0.7655 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-07 | 1.8947 | 1.8893 | 1.7 | 267.68
| Standard deviation intensity 1 | 48.2267 | nm | 0.83008 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8e-07 | 1.8956 | 1.8892 | 1.8 | 245.85
| Peak intensity 2 |  |  | 0.90011 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-07 | 1.8914 | 1.889 | 1.9 | 244.07
| Area intensity 2 |  |  | 0.97605 | 0 | 0 | 0 | 0 | 0 | 0 | 1.04e-06 | 1.888 | 1.8889 | 2 | 246.69
| Standard deviation intensity 2 |  |  | 1.0584 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12e-06 | 1.89 | 1.8888 | 2.1 | 289.49
| Peak intensity 3 |  |  | 1.1477 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2e-06 | 1.8971 | 1.8887 | 2.2 | 254.58
| Area intensity 3 |  |  | 1.2445 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-06 | 1.8937 | 1.8886 | 2.3 | 266.34
| Standard deviation intensity 3 |  |  | 1.3495 | 0 | 0 | 0 | 0 | 0 | 0 | 1.44e-06 | 1.8914 | 1.8883 | 2.4 | 247.88
Peak analysis number | Peak number 1 | 131.1741 | nm | 1.4634 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6e-06 | 1.8917 | 1.8881 | 2.5 | 276.88
| Area number 1 | 100 | % | 1.5868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.76e-06 | 1.8917 | 1.8878 | 2.6 | 262.26
| Standard deviation number 1 | 22.9937 | nm | 1.7207 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-06 | 1.8892 | 1.8876 | 2.7 | 253.49
| Peak number 2 |  |  | 1.8659 | 0 | 0 | 0 | 0 | 0 | 0 | 2.08e-06 | 1.8879 | 1.8873 | 2.8 | 242.4
| Area number 2 |  |  | 2.0233 | 0 | 0 | 0 | 0 | 0 | 0 | 2.24e-06 | 1.8916 | 1.8871 | 2.9 | 255.77
| Standard deviation number 2 |  |  | 2.194 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-06 | 1.8888 | 1.8869 | 3 | 255.86
| Peak number 3 |  |  | 2.3791 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-06 | 1.8863 | 1.8866 | 3.1 | 225.33
| Area number 3 |  |  | 2.5798 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88e-06 | 1.891 | 1.8861 | 3.2 | 245.57
| Standard deviation number 3 |  |  | 2.7974 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-06 | 1.8879 | 1.8857 | 3.3 | 282.32
D values | D10 volume | 105.851 | nm | 3.0334 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52e-06 | 1.8869 | 1.8852 | 3.4 | 245.69
| D50 volume | 138.772 | nm | 3.2894 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-06 | 1.8881 | 1.8847 | 3.5 | 265.85
| D90 volume | 222.812 | nm | 3.5669 | 0 | 0 | 0 | 0 | 0 | 0 | 4.16e-06 | 1.8859 | 1.8842 | 3.6 | 267.79
| D10 intensity | 117.6718 | nm | 3.8678 | 0 | 0 | 0 | 0 | 0 | 0 | 4.48e-06 | 1.8847 | 1.8837 | 3.7 | 217.05
| D50 intensity | 170.2414 | nm | 4.1941 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-06 | 1.8827 | 1.8832 | 3.8 | 242.61
| D90 intensity | 248.3077 | nm | 4.5479 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-06 | 1.8837 | 1.8828 | 3.9 | 265.77
| D10 number | 100.0773 | nm | 4.9316 | 0 | 0 | 0 | 0 | 0 | 0 | 5.76e-06 | 1.8801 | 1.8818 | 4 | 266.39
| D50 number | 118.5842 | nm | 5.3477 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-06 | 1.8808 | 1.8808 | 4.1 | 219.87
| D90 number | 160.2413 | nm | 5.7988 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04e-06 | 1.8795 | 1.8799 | 4.2 | 297.78
| Undersize span volume (D90-D10)/D50 | 0.84283 |  | 6.2881 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-06 | 1.8769 | 1.8789 | 4.3 | 233.15
| Undersize span intensity (D90-D10)/D50 | 0.76736 |  | 6.8186 | 0 | 0 | 0 | 0 | 0 | 0 | 8.32e-06 | 1.8744 | 1.8779 | 4.4 | 249.49
| Undersize span number (D90-D10)/D50 | 0.50735 |  | 7.3938 | 0 | 0 | 0 | 0 | 0 | 0 | 8.96e-06 | 1.8743 | 1.877 | 4.5 | 236.97
|  |  |  | 8.0176 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-06 | 1.874 | 1.876 | 4.6 | 268.3
Automatic values | Filter optical density | 0.81762 |  | 8.694 | 0 | 0 | 0 | 0 | 0 | 0 | 1.024e-05 | 1.8733 | 1.8751 | 4.7 | 237.9
| Focus position | -0.20843 | mm | 9.4275 | 0 | 0 | 0 | 0 | 0 | 0 | 1.152e-05 | 1.8705 | 1.8732 | 4.8 | 247.13
| Auto run criteria | 156.8301 | % | 10.2229 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-05 | 1.8692 | 1.8712 | 4.9 | 239.27
| Transmittance | 90.5726 | % | 11.0853 | 0 | 0 | 0 | 0 | 0 | 0 | 1.408e-05 | 1.8658 | 1.8693 | 5 | 232.5
| Angle used | SideScatter |  | 12.0206 | 0 | 0 | 0 | 0 | 0 | 0 | 1.536e-05 | 1.8638 | 1.8674 | 5.1 | 247.47
| Processed runs | 6 |  | 13.0347 | 0 | 0 | 0 | 0 | 0 | 0 | 1.664e-05 | 1.8639 | 1.8655 | 5.2 | 216.42
|  |  |  | 14.1344 | 0 | 0 | 0 | 0 | 0 | 0 | 1.792e-05 | 1.8603 | 1.8637 | 5.3 | 247.31
Input parameters | General |  |  | 15.3268 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-05 | 1.8575 | 1.8618 | 5.4 | 191.86
| Measurement cell | Quartz Low Volume |  | 16.6199 | 0 | 0 | 0 | 0 | 0 | 0 | 2.048e-05 | 1.8566 | 1.8599 | 5.5 | 233.67
| Measurement angle | Automatic |  | 18.022 | 0 | 0 | 0 | 0 | 0 | 0 | 2.304e-05 | 1.8524 | 1.8561 | 5.6 | 257.46
| Target temperature | 25 | °C | 19.5425 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-05 | 1.8481 | 1.8524 | 5.7 | 257.33
| Equilibration time | 0h 00m 30s |  | 21.1912 | 0 | 0 | 0 | 0 | 0 | 0 | 2.816e-05 | 1.8437 | 1.8487 | 5.8 | 245.41
| Analysis model | General |  | 22.979 | 0 | 0 | 0 | 0 | 0 | 0 | 3.072e-05 | 1.8393 | 1.845 | 5.9 | 206.53
| Cumulant model | Advanced |  | 24.9177 | 0 | 0 | 0 | 0 | 0 | 0 | 3.328e-05 | 1.8354 | 1.8413 | 6 | 194.71
|  |  |  | 27.0199 | 0 | 0 | 0 | 0 | 0 | 0 | 3.584e-05 | 1.8325 | 1.8376 | 6.1 | 277.61
| Quality |  |  | 29.2994 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-05 | 1.8287 | 1.834 | 6.2 | 223.24
| Mode | Automatic |  | 31.7713 | 0 | 0 | 0 | 0 | 0 | 0 | 4.096e-05 | 1.8252 | 1.8303 | 6.3 | 300.72
| Max. number of runs | 60 |  | 34.4517 | 0 | 0 | 0 | 0 | 0 | 0 | 4.608e-05 | 1.8184 | 1.8231 | 6.4 | 242.1
| Measurement time | 0h 00m 10s |  | 37.3583 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-05 | 1.8111 | 1.8159 | 6.5 | 266.09
|  |  |  | 40.51 | 0 | 0 | 0 | 0 | 0 | 0 | 5.632e-05 | 1.8037 | 1.8088 | 6.6 | 245.48
| Filter |  |  | 43.9277 | 0 | 0 | 0 | 0 | 0 | 0 | 6.144e-05 | 1.7976 | 1.8018 | 6.7 | 261.07
| Mode | Automatic |  | 47.6337 | 0 | 0 | 0 | 0 | 0 | 0 | 6.656e-05 | 1.79 | 1.7948 | 6.8 | 226.09
| Optical density | 0 | mm | 51.6524 | 0 | 0 | 0 | 0 | 0 | 0 | 7.168e-05 | 1.7828 | 1.7879 | 6.9 | 211.67
|  |  |  | 56.0101 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-05 | 1.7769 | 1.781 | 7 | 267.17
| Focus |  |  | 60.7354 | 0 | 0 | 0 | 0 | 0 | 0 | 8.192e-05 | 1.7705 | 1.7742 | 7.1 | 248.86
| Mode | Automatic |  | 65.8594 | 0 | 0 | 0 | 0 | 0 | 0 | 9.216e-05 | 1.7567 | 1.7608 | 7.2 | 255.42
| Position | 0 | mm | 71.4157 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001024 | 1.7437 | 1.7476 | 7.3 | 257.62
|  |  |  | 77.4408 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00011264 | 1.7318 | 1.7346 | 7.4 | 244.81
| Material |  |  | 83.9741 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00012288 | 1.7192 | 1.7219 | 7.5 | 257.69
| Name | Protein |  | 91.0587 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00013312 | 1.7067 | 1.7094 | 7.6 | 282.87
| Refractive index | 1.4500 |  | 98.741 | 0.71415 | 2.5301 | 6.9676 | 0.71415 | 2.5301 | 6.9676 | 0.00014336 | 1.6945 | 1.6971 | 7.7 | 255.94
| Absorption coefficient | 0.0010 | 1/m | 107.0713 | 3.0725 | 8.752 | 18.9029 | 3.7866 | 11.2821 | 25.8705 | 0.0001536 | 1.6834 | 1.685 | 7.8 | 206.41
|  |  |  | 116.1045 | 5.1205 | 11.7397 | 19.8861 | 8.9071 | 23.0218 | 45.7566 | 0.00016384 | 1.6715 | 1.6731 | 7.9 | 209.2
| Solvent |  |  | 125.8998 | 6.8304 | 12.6177 | 16.7628 | 15.7376 | 35.6395 | 62.5193 | 0.00018432 | 1.6489 | 1.65 | 8 | 261.61
| Name | 10mM KCL |  | 136.5214 | 8.1816 | 12.204 | 12.7157 | 23.9192 | 47.8435 | 75.235 | 0.0002048 | 1.6278 | 1.6277 | 8.1 | 240.23
| Refractive index | 1.3304 |  | 148.0392 | 9.1605 | 11.0362 | 9.0184 | 33.0796 | 58.8797 | 84.2534 | 0.00022528 | 1.6067 | 1.6061 | 8.2 | 217.69
| Viscosity | 0.89025 | mPa.s | 160.5287 | 9.7608 | 9.1779 | 5.882 | 42.8404 | 68.0576 | 90.1353 | 0.00024576 | 1.5867 | 1.5853 | 8.3 | 297.23
| Relative permittivity | 78.2532 |  | 174.0718 | 9.9832 | 7.2984 | 3.6685 | 52.8236 | 75.356 | 93.8038 | 0.00026624 | 1.568 | 1.5652 | 8.4 | 245.22
|  |  |  | 188.7576 | 9.8351 | 5.7169 | 2.2536 | 62.6587 | 81.0729 | 96.0574 | 0.00028672 | 1.5493 | 1.5458 | 8.5 | 200.78
Additional information | Measurement |  |  | 204.6823 | 9.3294 | 4.7129 | 1.4571 | 71.9881 | 85.7857 | 97.5145 | 0.0003072 | 1.5309 | 1.527 | 8.6 | 223.02
| User | ns05g311hpxq7x2, nanosci05.lab nanosci05.lab |  | 221.9505 | 8.4844 | 4.05 | 0.98203 | 80.4724 | 89.8357 | 98.4966 | 0.00032768 | 1.5141 | 1.5089 | 8.7 | 236.5
| Start time | 2021-09-01 12:03 |  | 240.6756 | 7.3221 | 3.571 | 0.6791 | 87.7945 | 93.4067 | 99.1757 | 0.00036864 | 1.4813 | 1.4746 | 8.8 | 237.56
| Software version | 2.22.1 |  | 260.9804 | 5.8676 | 2.8044 | 0.41827 | 93.6621 | 96.2111 | 99.5939 | 0.0004096 | 1.4513 | 1.4426 | 8.9 | 226.04
| Computer name | NS05G311HPXQ7X2 |  | 282.9983 | 4.1477 | 2.3177 | 0.27111 | 97.8098 | 98.5289 | 99.865 | 0.00045056 | 1.4229 | 1.4127 | 9 | 261.19
|  |  |  | 306.8737 | 2.1902 | 1.4711 | 0.13496 | 100 | 100 | 100 | 0.00049152 | 1.3966 | 1.3849 | 9.1 | 272.12
| Instrument |  |  | 332.7634 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00053248 | 1.3718 | 1.359 | 9.2 | 258.63
| Type | Litesizer 500 |  | 360.8373 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00057344 | 1.3489 | 1.3348 | 9.3 | 250.09
| Serial number | 82257682 |  | 391.2797 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0006144 | 1.327 | 1.3123 | 9.4 | 193.76
|  |  |  | 424.2904 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00065536 | 1.3071 | 1.2912 | 9.5 | 218.2
| Module |  |  | 460.086 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00073728 | 1.2702 | 1.2534 | 9.6 | 222.91
| Type | FM10 |  | 498.9016 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0008192 | 1.2383 | 1.2205 | 9.7 | 263.45
| Serial number | 82269241 |  | 540.9919 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00090112 | 1.211 | 1.1919 | 9.8 | 254.56
|  |  |  | 586.6333 | 0 | 0 | 0 | 100 | 100 | 100 | 0.00098304 | 1.1863 | 1.167 | 9.9 | 242.12
|  |  |  | 636.1251 | 0 | 0 | 0 | 100 | 100 | 100 | 0.001065 | 1.1655 | 1.1454 | 10 | 207.94
|  |  |  | 689.7925 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0011469 | 1.1468 | 1.1267 | 10.1 | 253.89
|  |  |  | 747.9875 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0012288 | 1.1301 | 1.1103 | 10.2 | 241.67
|  |  |  | 811.0921 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0013107 | 1.1158 | 1.0962 | 10.3 | 270.72
|  |  |  | 879.5207 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0014746 | 1.0922 | 1.0731 | 10.4 | 222.83
|  |  |  | 953.7223 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0016384 | 1.073 | 1.0557 | 10.5 | 245.75
|  |  |  | 1034.184 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0018022 | 1.0575 | 1.0426 | 10.6 | 208.86
|  |  |  | 1121.434 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0019661 | 1.0464 | 1.0327 | 10.7 | 241.74
|  |  |  | 1216.0449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0021299 | 1.0379 | 1.0252 | 10.8 | 201.25
|  |  |  | 1318.6377 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0022938 | 1.0315 | 1.0195 | 10.9 | 230.23
|  |  |  | 1429.8858 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0024576 | 1.0261 | 1.0152 | 11 | 232.09
|  |  |  | 1550.5195 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0026214 | 1.0227 | 1.012 | 11.1 | 300.85
|  |  |  | 1681.3306 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0029491 | 1.0172 | 1.0077 | 11.2 | 295.52
|  |  |  | 1823.1777 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0032768 | 1.0132 |  | 11.3 | 254.62
|  |  |  | 1976.9918 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0036045 | 1.0082 |  | 11.4 | 235.32
|  |  |  | 2143.7826 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0039322 | 1.0066 |  | 11.5 | 241
|  |  |  | 2324.6449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0042598 | 1.0042 |  | 11.6 | 266.68
|  |  |  | 2520.7659 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0045875 | 1.0052 |  | 11.7 | 284.27
|  |  |  | 2733.4327 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0049152 | 1.0066 |  | 11.8 | 212.24
|  |  |  | 2964.0414 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0052429 | 1.0077 |  | 11.9 | 280.8
|  |  |  | 3214.1056 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0058982 | 1.011 |  | 12 | 240.85
|  |  |  | 3485.2668 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0065536 | 1.0107 |  | 12.1 | 242.99
|  |  |  | 3779.3047 | 0 | 0 | 0 | 100 | 100 | 100 | 0.007209 | 1.011 |  | 12.2 | 303.87
|  |  |  | 4098.1494 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0078643 | 1.008 |  | 12.3 | 235.29
|  |  |  | 4443.8937 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0085197 | 1.003 |  | 12.4 | 230.87
|  |  |  | 4818.8071 | 0 | 0 | 0 | 100 | 100 | 100 | 0.009175 | 1.0006 |  | 12.5 | 254.82
|  |  |  | 5225.3505 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0098304 | 0.99789 |  | 12.6 | 262.04
|  |  |  | 5666.1922 | 0 | 0 | 0 | 100 | 100 | 100 | 0.010486 | 0.99811 |  | 12.7 | 242.63
|  |  |  | 6144.226 | 0 | 0 | 0 | 100 | 100 | 100 | 0.011796 | 1.0016 |  | 12.8 | 218.58
|  |  |  | 6662.5896 | 0 | 0 | 0 | 100 | 100 | 100 | 0.013107 | 0.99766 |  | 12.9 | 192.32
|  |  |  | 7224.6854 | 0 | 0 | 0 | 100 | 100 | 100 | 0.014418 | 0.9952 |  | 13 | 192.34
|  |  |  | 7834.203 | 0 | 0 | 0 | 100 | 100 | 100 | 0.015729 | 0.99659 |  | 13.1 | 233.37
|  |  |  | 8495.1431 | 0 | 0 | 0 | 100 | 100 | 100 | 0.017039 | 1.0022 |  | 13.2 | 252.51
|  |  |  | 9211.8441 | 0 | 0 | 0 | 100 | 100 | 100 | 0.01835 | 1.0042 |  | 13.3 | 217.96
|  |  |  | 9989.0102 | 0 | 0 | 0 | 100 | 100 | 100 | 0.019661 | 1.0069 |  | 13.4 | 238.21
|  |  |  | 10831.7428 | 0 | 0 | 0 | 100 | 100 | 100 | 0.020972 | 1.0083 |  | 13.5 | 326.87
|  |  |  | 11745.5732 | 0 | 0 | 0 | 100 | 100 | 100 | 0.023593 | 1.0034 |  | 13.6 | 391.13
|  |  |  | 12736.4999 | 0 | 0 | 0 | 100 | 100 | 100 | 0.026214 | 1.001 |  | 13.7 | 245.63
|  |  |  | 13811.027 | 0 | 0 | 0 | 100 | 100 | 100 | 0.028836 | 1.0018 |  | 13.8 | 272.19
|  |  |  | 14976.2077 | 0 | 0 | 0 | 100 | 100 | 100 | 0.031457 | 0.99884 |  | 13.9 | 279.7
|  |  |  | 16239.69 | 0 | 0 | 0 | 100 | 100 | 100 | 0.034079 | 1.0022 |  | 14 | 228.37
|  |  |  | 17609.7672 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0367 | 1.0019 |  | 14.1 | 270.23
|  |  |  | 19095.4322 | 0 | 0 | 0 | 100 | 100 | 100 | 0.039322 | 1.005 |  | 14.2 | 245.75
[11 empty] | 0.041943 | 1.0028 |  | 14.3 | 305.26
[11 empty] | 0.047186 | 1.0005 |  | 14.4 | 251.52
[11 empty] | 0.052429 | 1.0017 |  | 14.5 | 262.57
[11 empty] | 0.057672 | 0.99926 |  | 14.6 | 220.95
[11 empty] | 0.062915 | 1.002 |  | 14.7 | 268.22
[11 empty] | 0.068157 | 1.0049 |  | 14.8 | 217.69
[11 empty] | 0.0734 | 0.99859 |  | 14.9 | 256.57
[11 empty] | 0.078643 | 0.998 |  | 15 | 282.38
[11 empty] | 0.083886 | 1.0014 |  | 15.1 | 237.07
[11 empty] | 0.094372 | 1.0008 |  | 15.2 | 260.35
[11 empty] | 0.10486 | 1.0008 |  | 15.3 | 281.09
[11 empty] | 0.11534 | 1.0004 |  | 15.4 | 273.03
[11 empty] | 0.12583 | 0.99927 |  | 15.5 | 231.56
[11 empty] | 0.13631 | 1.0028 |  | 15.6 | 236.34
[11 empty] | 0.1468 | 1.0005 |  | 15.7 | 218.61
[11 empty] | 0.15729 | 1.0003 |  | 15.8 | 248.28
[11 empty] | 0.16777 | 1.0015 |  | 15.9 | 287.87
[11 empty] | 0.18874 | 0.99944 |  | 16 | 322.58
[11 empty] | 0.20972 | 1.0016 |  | 16.1 | 241.61
[11 empty] | 0.23069 | 0.99915 |  | 16.2 | 295.76
[11 empty] | 0.25166 | 1.0011 |  | 16.3 | 254.02
[11 empty] | 0.27263 | 1.003 |  | 16.4 | 227.4
[11 empty] | 0.2936 | 1.0016 |  | 16.5 | 263.77
[11 empty] | 0.31457 | 0.99989 |  | 16.6 | 307.47
[11 empty] | 0.33554 | 1.0005 |  | 16.7 | 250.35
[11 empty] | 0.37749 | 1.0033 |  | 16.8 | 225.84
[11 empty] | 0.41943 | 1.002 |  | 16.9 | 224.65
[11 empty] | 0.46137 | 1.0028 |  | 17 | 293.17
[11 empty] | 0.50332 | 1.0023 |  | 17.1 | 225.49
[11 empty] | 0.54526 | 1.0021 |  | 17.2 | 226.62
[11 empty] | 0.5872 | 1.002 |  | 17.3 | 225.76
[11 empty] | 0.62915 | 1.0032 |  | 17.4 | 245
[11 empty] | 0.67109 | 1.0024 |  | 17.5 | 267.59
[11 empty] | 0.75497 | 1.0023 |  | 17.6 | 206.88
[11 empty] | 0.83886 | 1.0034 |  | 17.7 | 251.35
[11 empty] | 0.92275 | 1.0037 |  | 17.8 | 227.3
[11 empty] | 1.0066 | 1.0031 |  | 17.9 | 279.81
[11 empty] | 1.0905 | 1.0051 |  | 18 | 317.26
[11 empty] | 1.1744 | 1.0045 |  | 18.1 | 218.27
[11 empty] | 1.2583 | 1.002 |  | 18.2 | 245.41
[11 empty] | 1.3422 | 1.005 |  | 18.3 | 249.37
[11 empty] | 1.5099 | 1.0035 |  | 18.4 | 293.06
[11 empty] | 1.6777 | 1.004 |  | 18.5 | 279.79
[11 empty] | 1.8455 | 1.0029 |  | 18.6 | 233.15
[11 empty] | 2.0133 | 1.0018 |  | 18.7 | 242.65
[11 empty] | 2.181 | 1.0022 |  | 18.8 | 238.06
[11 empty] | 2.3488 | 0.9994 |  | 18.9 | 259.31
[11 empty] | 2.5166 | 0.99861 |  | 19 | 244.43
[11 empty] | 2.6844 | 1.001 |  | 19.1 | 295.64
[11 empty] | 3.0199 | 1.0026 |  | 19.2 | 200.96
[11 empty] | 3.3554 | 1.0035 |  | 19.3 | 240.44
[11 empty] | 3.691 | 0.99823 |  | 19.4 | 258.31
[11 empty] | 4.0265 | 0.99779 |  | 19.5 | 251.63
[11 empty] | 4.3621 | 0.99939 |  | 19.6 | 240.43
[11 empty] | 4.6976 | 0.99971 |  | 19.7 | 220.07
[11 empty] | 5.0332 | 1.0014 |  | 19.8 | 248.4
[11 empty] | 5.3687 | 1.0029 |  | 19.9 | 288.45
[11 empty] | 6.0398 | 0.99971 |  | 20 | 215.17
[11 empty] | 6.7109 | 1.0022 |  | 20.1 | 237.38
[11 empty] | 7.382 | 1.0026 |  | 20.2 | 253.37
[11 empty] | 8.0531 | 0.98066 |  | 20.3 | 229.71
[14 empty] | 20.4 | 237.7
[14 empty] | 20.5 | 295.76
[14 empty] | 20.6 | 240.23
[14 empty] | 20.7 | 250
[14 empty] | 20.8 | 258.21
[14 empty] | 20.9 | 168.49
[14 empty] | 21 | 234.11
[14 empty] | 21.1 | 280.29
[14 empty] | 21.2 | 303.72
[14 empty] | 21.3 | 243.2
[14 empty] | 21.4 | 217.48
[14 empty] | 21.5 | 255.05
[14 empty] | 21.6 | 215.72
[14 empty] | 21.7 | 287.53
[14 empty] | 21.8 | 270.45
[14 empty] | 21.9 | 272.45
[14 empty] | 22 | 231.33
[14 empty] | 22.1 | 276.05
[14 empty] | 22.2 | 275.84
[14 empty] | 22.3 | 276.35
[14 empty] | 22.4 | 240.95
[14 empty] | 22.5 | 254.74
[14 empty] | 22.6 | 260.53
[14 empty] | 22.7 | 267.69
[14 empty] | 22.8 | 236.92
[14 empty] | 22.9 | 263.01
[14 empty] | 23 | 225.89
[14 empty] | 23.1 | 232.08
[14 empty] | 23.2 | 226.01
[14 empty] | 23.3 | 246.94
[14 empty] | 23.4 | 257.57
[14 empty] | 23.5 | 277.55
[14 empty] | 23.6 | 225.91
[14 empty] | 23.7 | 245.15
[14 empty] | 23.8 | 266.1
[14 empty] | 23.9 | 219.83
[14 empty] | 24 | 258.82
[14 empty] | 24.1 | 227.81
[14 empty] | 24.2 | 264.16
[14 empty] | 24.3 | 259.16
[14 empty] | 24.4 | 211.48
[14 empty] | 24.5 | 263.35
[14 empty] | 24.6 | 264.63
[14 empty] | 24.7 | 236.65
[14 empty] | 24.8 | 200.06
[14 empty] | 24.9 | 238.26
[14 empty] | 25 | 275.97
[14 empty] | 25.1 | 226.74
[14 empty] | 25.2 | 261.54
[14 empty] | 25.3 | 209.99
[14 empty] | 25.4 | 266.59
[14 empty] | 25.5 | 183.34
[14 empty] | 25.6 | 214.31
[14 empty] | 25.7 | 278.1
[14 empty] | 25.8 | 241.39
[14 empty] | 25.9 | 187.1
[14 empty] | 26 | 228.7
[14 empty] | 26.1 | 245.75
[14 empty] | 26.2 | 216.57
[14 empty] | 26.3 | 220.52
[14 empty] | 26.4 | 264.68
[14 empty] | 26.5 | 239.82
[14 empty] | 26.6 | 199.75
[14 empty] | 26.7 | 220.82
[14 empty] | 26.8 | 226.02
[14 empty] | 26.9 | 247.25
[14 empty] | 27 | 217.9
[14 empty] | 27.1 | 242.72
[14 empty] | 27.2 | 209.93
[14 empty] | 27.3 | 222.4
[14 empty] | 27.4 | 244.78
[14 empty] | 27.5 | 298.95
[14 empty] | 27.6 | 294.85
[14 empty] | 27.7 | 264.95
[14 empty] | 27.8 | 210.71
[14 empty] | 27.9 | 255.35
[14 empty] | 28 | 265.5
[14 empty] | 28.1 | 237.09
[14 empty] | 28.2 | 263.33
[14 empty] | 28.3 | 193.83
[14 empty] | 28.4 | 236.73
[14 empty] | 28.5 | 214.92
[14 empty] | 28.6 | 259.91
[14 empty] | 28.7 | 226.04
[14 empty] | 28.8 | 207.58
[14 empty] | 28.9 | 192.1
[14 empty] | 29 | 210.29
[14 empty] | 29.1 | 212.23
[14 empty] | 29.2 | 219.89
[14 empty] | 29.3 | 285.83
[14 empty] | 29.4 | 230.1
[14 empty] | 29.5 | 197.84
[14 empty] | 29.6 | 212.6
[14 empty] | 29.7 | 244.17